## Slide 1: Building back better through the reintroduction of CO monitoring Martyn Willmore Senior Tobacco Control Programme Manager Public Health England

## Slide 2: Acknowledgments
Recognising the challenges faced by midwifery over the last 12 months
The pandemic has also impacted significantly on delivery within Stop Smoking Services
All this at a time when we hoped to piloting elements of the NHS Long Term Plan commitments around smoking
SATOD has fallen over the last year, and the number of pregnant smokers quitting with SSS support has risen
The work I`m going to discuss has been a collaboration between PHE and NHSEI, and many other partners

## Slide 3: Back to the start…..
In March 2020, the spread of COVID-19 across England flagged the need for national guidance on stop smoking interventions
At the time, relatively little was known about this novel coronavirus or its transmission
Government advice quickly focussed on recommending remote delivery of non-essential community public health services (SSS)
NHSEI advised similar around non-urgent antenatal appointments
Practically there was little option but to issue guidance that all CO monitoring should be paused at that time

## Slide 4: Reviewing the safety of CO monitoring
CO monitoring of all pregnant women, recommended by NICE in 2010, had recently been embedded within SBLCB
Almost immediately we began a review into the safety of CO monitoring in light of COVID-19. This encompassed:
      Assessing the risk of transmitting the virus via a CO monitor
      What viral filtration standards were in place?
      Consideration of infection control protocols
      Working with Health Protection Agency, MHRA and others
      Balancing any risk against the “do nothing” approach

## Slide 5: Viral Filtration Efficacy (VFE)
Health Protection Agency undertook testing of the two CO monitors on the domestic market back in 2017
HPA expose the monitors to a viral cocktail (not live virus) of 24nm. COVID-19 is 5x larger in size, so effectiveness results below are likely an under-estimate
Both single-use monitors achieved over 99.8% VFE. Bedfont`s 30-day replaceable D-piece achieved >97% when 30 day use simulated with no cleaning. Importance of cleaning and replacing
There Is no “definitive standard” for CO monitor VFE
Both suppliers have all relevant ISO standards and produced further guidance on handling/cleaning kit in light of COVID

## Slide 6: Infection Control and Prevention
We spoke with IPC staff to discuss the specific requirements around CO monitoring
CO monitoring process is defined as non-aerosol generating, so this falls into a standard set of recommendations, including:
      Maintaining a 2m distance between staff and clients
      Working in a ventilated room
      Standard PPE (i.e. FFP3 filtration mask not required)
These are requirements which would realistically apply to any face to face appointment. Not specific to CO monitoring

## Slide 7: Developing guidance
Based on the findings from HPA, and guidance from IPC, we submitted a paper to the national COVID guidance cell in Oct
This recommended that CO monitoring could be resumed, if all the necessary precautions taken
Incident Director signed this off mid-October.
PHE developed communication to SSS via NCSCT, and NHSEI drafted a maternity transformation bulletin in early November
PHE also worked with Hilary Wareing and HEE to develop an e-learning for health module about CO resumption, aimed at front-line staff

## Slide 8: Considerations
PHE can issue guidance on such issues. Resumption of CO testing should still be subject to local risk assessment
We have worked with RCM on some additional resources to support those local decisions
Queries regularly received on impact of number of local COVID cases, national/local lockdown measures, variant(s), timing?
These don`t change our assessment about safety of resuming CO monitoring. They may change local appetite for seeing clients face to face
We continue to monitor IPC and government guidance. This is always under review